Detection of Knee Orthopedic X-ray Images using Deep Learning

Abstract

The advancement of knee injury diagnosis plays a pivotal role in enhancing the treatment of such conditions, demanding both precision and cost-effectiveness. In recent years, the landscape of knee injury detection in X-ray studies has been predominantly shaped by deep learning methodologies. This paper aims to present the outcomes derived from a comprehensive systematic literature review focused on knee injury detection – ranging from doubtful, healthy, minimal, moderate, to severe cases – leveraging deep learning techniques. Selected metrics have been employed to discern and interpret the research findings.

The prediction accuracy of deep learning models, specifically AlexNet, MobileNet, and ResNet, for identifying knee injuries exhibited a noteworthy range of 72.5% to 100%. These deep learning architectures demonstrate the potential to match or even surpass human-level performance in decision-making tasks associated with X-ray-based knee injury diagnoses. However, it is crucial to acknowledge certain limitations inherent in current deep learning approaches, including challenges related to data imbalance, generalizability across different medical centers, verification bias, and a notable scarcity of classification studies encompassing more than two injury classes. Additionally, the subjectivity in defining ground truth poses a challenge to the robustness of these models.

Further exploration of deep learning in the domain of X-ray-based knee injury diagnosis is warranted. Addressing issues such as explainability and lightweight deployment of deep learning systems is expected to be instrumental in fostering their widespread adoption within clinical practices.

Keywords: Orthopedics, Knee X-ray images, Classification, Deep Learning, AlexNet, MobileNet, ResNet.

Motivation:

The motivation for this project stems from the existing challenges in accurately diagnosing knee osteoarthritis using traditional methods. The limitations in precision and timeliness in current diagnostic approaches highlight the need for a more sophisticated system. By leveraging deep learning techniques and advanced neural network architectures, the project aspires to contribute to medical advancements, providing a solution that improves the precision and efficiency of knee osteoarthritis diagnosis, ultimately enhancing patient care and outcomes.

Problem Statement

The project addresses the challenge of accurately diagnosing knee osteoarthritis, a prevalent joint ailment, using conventional diagnostic methods that may lack precision and efficiency. The current methods often rely on subjective interpretations and may not detect early indicators of the condition, leading to delayed intervention and suboptimal patient outcomes. Therefore, there is a critical need for a robust and efficient diagnostic system capable of early detection and precise identification of knee osteoarthritis, thereby facilitating timely intervention and improving patient care.

Objective of the Project:

- Enhanced Diagnostics: Implement a specialized Convolutional Neural Network (CNN) with integrated architectures from AlexNet, MobileNet, and ResNet to improve precision in knee osteoarthritis diagnosis.

- Early Detection: Utilize deep learning techniques to identify initial indicators, enabling timely intervention for knee osteoarthritis, ultimately contributing to enhanced patient outcomes.

- Architectural Integration: Integrate advanced neural network architectures to optimize the system's ability to analyze complex medical imaging datasets, fostering a more comprehensive and accurate diagnostic process.

- Medical Advancements: Contribute to the progress in medical diagnostics by developing a novel framework for addressing prevalent joint ailments, particularly knee osteoarthritis. This approach showcases the potential for significant advancements in early detection and intervention strategies, ultimately improving patient care.

Scope:

- Utilizing Specialized CNN with AlexNet Architecture: Implementing a dedicated Convolutional Neural Network (CNN) enriched with the advanced architecture of AlexNet to create a robust framework for knee osteoarthritis detection.

- Enhanced Diagnostic Accuracy: Analyzing medical imaging data using deep learning techniques to achieve superior diagnostic accuracy, providing healthcare professionals with more precise information for effective decision-making.

- Early Detection Capabilities: Developing and implementing early detection capabilities within the system to identify initial indicators of knee osteoarthritis. This aims to facilitate timely intervention and improve patient outcomes.

- Integration of Advanced Neural Network Architectures: Exploring the integration of advanced neural network architectures, including MobileNet and ResNet, to optimize the system's ability to process and interpret complex medical imaging datasets. This integration enhances the overall efficiency and effectiveness of the diagnostic process.

Existing System

This model emphasizes an existing method that is designed using some of the algorithms of deep learning. Here, the process is performed using CNN, which is one of the transfer learning methods, but it has encountered challenges in achieving high accuracy.

Disadvantages:

- Less Feature Compatibility:

The model exhibits limitations in terms of feature compatibility, possibly hindering its ability to effectively capture and analyze relevant features from the input data.

- Low Accuracy:

Despite utilizing CNN and transfer learning, the model faces challenges in achieving high accuracy, indicating potential shortcomings in its ability to precisely identify and classify knee osteoarthritis indicators.

Addressing these disadvantages is crucial for optimizing the model's performance and ensuring its effectiveness in enhancing diagnostic accuracy and enabling early detection.

Disadvantages:

- Computational Complexity: The utilization of advanced architectures such as AlexNet, MobileNet, and ResNet introduces increased computational demands, potentially requiring substantial resources. Managing the computational complexity becomes crucial for practical deployment.

- Processing Time: The sophisticated features of AlexNet, MobileNet, and ResNet may lead to extended processing times, particularly when dealing with large medical imaging datasets. Real-time results could be affected, and careful consideration is needed for efficient processing.

- Resource Requirements: The enhanced architectures may demand significant computational resources, limiting practicality in settings with constraints. Balancing the trade-off between model complexity and resource availability is essential for widespread applicability.

- Optimization Challenges: Careful optimization strategies are necessary to address the computational complexities of AlexNet, MobileNet, and ResNet. Achieving a balance between high accuracy and efficient deployment requires meticulous optimization.

- Deployment Practicality: The disadvantages include potential limitations in deploying the models in environments with restricted computational capabilities. Considering the practicality of implementing advanced architectures like MobileNet and ResNet becomes crucial for successful deployment in diverse healthcare settings.

Proposed System:

The proposed methodology integrates a specialized Convolutional Neural Network (CNN) with AlexNet, MobileNet, and ResNet architectures for comprehensive knee osteoarthritis detection. The process commences with meticulous data preprocessing, optimizing the dataset for training. The constructed CNN model, enriched with features from AlexNet, MobileNet, and ResNet, undergoes rigorous training and performance evaluation. Key metrics guide optimization, providing insights into the strengths and limitations of each architecture. This multi-architectural approach aims to elevate the accuracy of knee osteoarthritis detection, showcasing the potential advancements achievable through the fusion of CNN, AlexNet, MobileNet, and ResNet capabilities in medical diagnostics.

Advantages:

- Enhanced Pattern Recognition: The utilization of a Convolutional Neural Network (CNN) enriched with AlexNet, MobileNet, and ResNet features facilitates superior pattern recognition. This amalgamation allows the model to capture intricate details in knee images, enhancing its diagnostic capabilities.

- Hierarchical Learning: The hierarchical learning capabilities of the enhanced CNN, combined with MobileNet and ResNet architectures, contribute to a more nuanced understanding of knee osteoarthritis features. This synergistic approach potentially improves diagnostic accuracy by considering various hierarchical representations.

- Flexibility: The proposed method, incorporating features from AlexNet, MobileNet, and ResNet, exhibits flexibility in adapting to diverse datasets. This adaptability makes the model applicable to different scenarios, contributing to its versatility across various medical imaging datasets.

- Comparative Analysis: The method enables a comprehensive comparative analysis with existing approaches, providing insights into its efficacy and potential advancements in knee osteoarthritis discovery.

- Potential for Further Research: The proposed method sets the stage for potential further research and improvements, fostering advancements in the field of medical image analysis and disease detection.

  - Project Flow:

Hardware Requirements

# Processor			- I3/Intel Processor

Hard Disk			- 160GB

Key Board			- Standard Windows Keyboard

Mouse				- Two or Three Button Mouse

Monitor			- SVGA

RAM				- 8GB

Software Requirements:

Operating System		:  Windows 7/8/10

Server-side Script		:  HTML, CSS, Bootstrap & JS

Programming Language	:  Python

Libraries	:  Flask, Pandas, MySQL. Connector, NumPy, tensorflow, keras, sklearn

IDE/Workbench		:  PyCharm

Technology			:  Python 3.6+

Server Deployment		:  Xampp Server

Database			:  MySQL

IMPLEMENTATION

MODULES:

1. System:

1.1 Create Dataset:

The dataset containing images of chest x-ray images are to be classified is split into training and testing dataset with the test size of 30-20%.

1.2 Pre-processing:

Resizing and reshaping the images into appropriate format to train our model.

1.3 Training:

Use the pre-processed training dataset is used to train our model.

1.4 Classification:

The results of our model is display of images are with one of the given input images.

2. User:

2.1 user registration

User can register with the mentioned details like name, email, password, confirm password, contact number.

2.2 user login

In this page user can login with the email and password for further process

2.3 Upload Image

The user has to upload an image, which needs to be classified.

2.4 View Results

User views the classified image results.

  - logout

after complete the process user can logout from the process